Greenhouse location options at Old U-Park

Listed in the least expensive option to most 	1	2

----- = Possible utilities route

The dimensions of the greenhouse are 90’ x 30’ 	3

4

#1

Location has firm gravel base the will allow minimal site prep , straight shot for utilities from building mechanical room (about 162’).

#2

Location has firm soil base that would require additional site prep, utilities from building mechanical room (about 216’).

#3

Location has firm soil base that would require additional site prep, utilities from building mechanical room (about 306’).

#4

Location has firm gravel base the will allow minimal site prep, utilities from building mechanical room (about 364’).

8/26/2014

Prepared for Scott Bell

By Darrin Bear Edson